## Summary
Isometric MTO Export
Field | Value
Drawing No | SCW-005
Revision | 0.0
Line Number | —
NPS | 8
Material Class | —
Service | 8TH FLOOR PUMP ROOM
Total Pipe Length (m) | 2.76
Fittings | 3
Flanges | 3
Valves | 0
Gaskets | 3
Bolt Sets | 3
Supports | 0
Instrumentation Connections | 0
Field Welds | 0

## MTO_Items
Item No | Category | Description | Size | Sched/Class | Material | End | Qty | Unit | Length (m) | Confidence | Verification | Derived From | Pg | Remarks
1 | FLANGE | RFVN | 8 |  |  |  | 3 | EA |  | 1 | no_bom_available
3 | FITTING | 90 DEG LONG RADIUS ELBOW | 8 |  |  |  | 2 | EA |  | 1 | no_bom_available
5 | FITTING | TEE | 8 |  |  |  | 1 | EA |  | 1 | no_bom_available
2 | PIPE | PIPE, STEEL BLACK | 8 |  | STEEL BLACK |  | 0.79058 | M | 0.79058 | 1 | no_bom_available
4 | PIPE | PIPE, STEEL BLACK | 8 |  | STEEL BLACK |  | 0.42228 | M | 0.42228 | 1 | no_bom_available
6 | PIPE | PIPE, STEEL BLACK | 8 |  | STEEL BLACK |  | 1.4224 | M | 1.4224 | 1 | no_bom_available
7 | PIPE | PIPE, STEEL BLACK | 8 |  | STEEL BLACK |  | 0.12383 | M | 0.12383 | 1 | no_bom_available
8 | GASKET | Spiral Wound Gasket, ASME B16.20 |  |  |  |  | 3 | EA |  |  | unverified | 1 gasket per flanged joint (ASME B16.20 convention) - not directly extracted
9 | BOLT | Stud Bolts with Nuts, ASTM A193 B7 / A194 2H |  |  |  |  | 3 | SET |  |  | unverified | 1 bolt set per flanged joint - not directly extracted